Rainwater Wastage Reduction and Harvesting Optimization System

| Environmental Problem | Rainwater wastage and inefficient rainwater harvesting |
| --- | --- |
| Primary SDG | SDG 6 – Clean Water and Sanitation |
| Supporting SDGs | SDG 11 – Sustainable Cities and Communities SDG 12 – Responsible Consumption and Production |
| Report Type | Individual Technical Report |
| Proposed Solution | Smart monitoring, prediction and optimization platform for rainwater collection, storage, reuse |
| Student Name | Santo Joseph |
| Register No. | U2503246 |
| Class / Semester | CS-D/S3 |
| Institution | Rajagiri School of Engineering and Technology |
| Batch | 2025-29 |

# ABSTRACT

Rainwater is a valuable natural resource, yet a considerable portion of rainfall can be lost as uncontrolled runoff, drainage discharge and storage-tank overflow. Conventional rainwater harvesting arrangements generally focus on collecting water but may not continuously monitor rainfall, available storage, expected water demand or overflow risk. This report proposes a Rainwater Wastage Reduction and Harvesting Optimization System that combines rainfall monitoring, rooftop runoff estimation, storage-level monitoring, demand analysis and decision support in a single digital platform.

The proposed system estimates the quantity of rainwater that can potentially be harvested from a roof, compares it with available tank capacity and expected water demand, and recommends an appropriate action for excess water. Depending on conditions, the system can prioritize storage, controlled reuse or diversion to a recharge structure. A dashboard provides indicators such as rainfall received, water harvested, water reused, overflow avoided, recharge quantity and harvesting efficiency.

The main innovation is the shift from a passive harvesting arrangement to a data-driven optimization system that attempts to reduce avoidable rainwater loss. The project supports SDG 6 by promoting efficient water management and can be scaled from a single building to an institution or campus.

# INTRODUCTION

Water security is increasingly connected with efficient management of both freshwater and rainfall. During rainfall events, rooftops and paved surfaces can generate large volumes of runoff within a short period. Where collection infrastructure is absent or undersized, this water is rapidly discharged into drains. Even where a harvesting tank exists, available storage may become full before rainfall ends, resulting in avoidable overflow.

A sustainable approach therefore requires more than installing a storage tank. The system should estimate how much water is available, understand how much storage is free, consider likely water demand, and provide an alternative pathway for surplus water. Digital monitoring can make these decisions timely and measurable.

# ENVIRONMENTAL PROBLEM

The selected environmental problem is rainwater wastage caused by inadequate collection, storage and utilization planning. The problem can occur at residential buildings, schools, hostels, apartments, offices and other institutions. Major loss pathways include direct runoff from roofs, overflow from full tanks, poor maintenance of filters and gutters, and failure to redirect surplus water to suitable recharge or secondary-storage facilities.

## Major Causes

- Insufficient collection infrastructure: Roof runoff may not be fully connected to harvesting systems.

- Limited storage capacity: A tank can reach maximum level during heavy rainfall.

- No real-time monitoring: Users may not know current tank level or overflow risk.

- Unplanned demand: Harvested water may remain unused because suitable non-potable applications are not tracked.

- Poor maintenance: Blocked gutters, filters and first-flush units reduce effective collection.

- Absence of decision support: Conventional systems rarely recommend whether excess water should be stored, reused or sent to recharge.

## Effects

- Loss of a locally available water resource and greater dependence on external freshwater supplies.

- Uncontrolled runoff can contribute to localized drainage pressure and soil erosion.

- Reduced groundwater recharge where runoff is not directed toward suitable recharge structures.

- Lower value from harvesting infrastructure when collected water is not effectively utilized.

- Difficulty measuring conservation performance because lost water is not quantified.

# PROBLEM STATEMENT

How can a smart monitoring and optimization system reduce rainwater wastage by estimating harvestable runoff, monitoring storage conditions, predicting overflow risk, matching harvested water with demand, and recommending the most suitable use or recharge pathway for excess rainwater?

# OBJECTIVES

- Estimate potential rainwater collection using rainfall, roof area and runoff characteristics.

- Monitor water level and available capacity of a harvesting tank.

- Identify conditions that may lead to overflow and generate timely alerts.

- Compare harvested water with expected non-potable water demand.

- Recommend storage, reuse or groundwater-recharge actions for excess rainwater.

- Maintain historical records and provide a harvesting-efficiency dashboard.

- Create a scalable design suitable for households and institutional buildings.

# EXISTING SYSTEMS AND THEIR LIMITATIONS

Traditional rainwater harvesting systems commonly consist of rooftop gutters, downpipes, filters, first-flush arrangements and storage tanks. These components are effective at physically collecting water, but their operation is often based on fixed infrastructure rather than continuous measurement. In a simple arrangement, once the tank is full, additional rainwater may be discharged without recording the volume or evaluating alternative destinations.

Some modern installations add water-level sensors or automated valves. However, a sensor-only approach still does not answer the larger management question: What should be done with the next available rainfall? A useful technical solution should connect measurements to decisions.

## Comparison

| Aspect | Conventional Harvesting | Proposed System |
| --- | --- | --- |
| Rainfall monitoring | Manual / limited | Continuous or periodic sensor/API input |
| Tank monitoring | Visual inspection | Water-level sensor + dashboard |
| Overflow awareness | Reactive | Threshold and forecast-based alert |
| Runoff estimation | Manual calculation | Automatic calculation |
| Demand matching | Usually absent | Demand profile and usage tracking |
| Excess-water decision | Drain away | Storage / reuse / recharge recommendation |
| Performance reporting | Limited | Historical analytics and efficiency score |

# PROPOSED SYSTEM

The proposed Rainwater Wastage Reduction and Harvesting Optimization System (RWRHOS) is a monitoring and decision-support platform connected to a rainwater harvesting setup. It may be implemented using low-cost IoT hardware or, for an initial prototype, with simulated rainfall and tank-level data.

The system has four operational stages: measure, estimate, optimize and report. Measurements are collected from rainfall and tank-level inputs. The platform estimates available runoff and free storage. An optimization module evaluates water demand and overflow risk and recommends an action. The dashboard then records the event and calculates conservation indicators.

# SYSTEM ARCHITECTURE AND WORKING

The architecture consists of a sensing layer, communication layer, processing layer, optimization engine and user interface. A practical prototype can use an ESP32 or similar microcontroller, a rain gauge, an ultrasonic or pressure-based tank-level sensor, and a solenoid valve where automated diversion is required.

| Layer | Components | Function |
| --- | --- | --- |
| Sensing | Rain gauge, tank-level sensor, optional | flow meter Collect rainfall, storage and flow data |
| Edge/Control | ESP32 / microcontroller | Reads sensors, applies thresholds and transmits data |
| Communication | Wi-Fi / local network | Transfers readings to server or cloud platform |
| Processing | Backend + database | Stores data, estimates runoff and calculates indicators |
| Optimization | Rule engine / algorithm | Selects storage, reuse or recharge recommendation |
| Presentation | Web/mobile dashboard | Displays status, alerts, analytics and recommendations |

## Working Sequence

- Measure rainfall and tank level at defined intervals.

- Calculate potential runoff from the roof.

- Determine current free tank capacity.

- Estimate near-term demand and assess whether storage is sufficient.

- Calculate overflow risk from expected inflow and remaining capacity.

- If storage is adequate, prioritize collection and later reuse.

- If the tank is approaching full capacity, recommend controlled diversion to an approved recharge pit, secondary tank or other safe destination.

- Record estimated harvested, reused, recharged and lost volumes.

- Display alerts and performance indicators on the dashboard.

## Conceptual Data Flow

Rainfall → Runoff Estimate → Storage Check → Demand Check → Overflow Risk → Decision Engine → Storage / Reuse /Recharge → Dashboard & Records

# TECHNICAL METHODOLOGY

## Rainwater Harvesting Estimation

A simplified estimate of collectible rainwater uses rainfall depth, roof catchment area and a runoff coefficient representing collection losses.

### Harvestable Volume (L) = Rainfall (mm) × Roof Area (m²) × Runoff Coefficient

For example, if roof area is 150 m², rainfall is 40 mm and the effective runoff coefficient is 0.85, estimated collectible volume is approximately 5,100 litres. Actual yield depends on roof material, gutter condition, first-flush diversion and other losses.

## Storage and Overflow Calculation

The system maintains a current storage value and compares it with tank capacity.

### Free Capacity = Tank Capacity − Current Stored Volume

If Expected Inflow exceeds Free Capacity, the system flags a potential overflow condition and estimates the excess volume requiring an alternative pathway.

## Optimization Logic

- Priority 1 – Collection: Capture incoming rainwater whenever safe storage capacity exists.

- Priority 2 – Demand matching: Reserve water for suitable non-potable uses such as gardening, cleaning or toilet flushing where permitted.

- Priority 3 – Recharge: When storage is likely to overflow, divert excess water to a properly designed groundwater-recharge structure.

- Priority 4 – Controlled discharge: If storage and recharge capacity are unavailable, use a safe drainage route while recording estimated loss.

## Main Modules

- Rainfall Module: Captures and stores rainfall observations.

- Tank Monitoring Module: Tracks water level, free capacity and overflow threshold.

- Runoff Estimation Module: Calculates potential collection from roof characteristics.

- Demand Module: Maintains expected non-potable water usage.

- Optimization Engine: Produces recommended action based on storage, inflow and demand.

- Alert Module: Sends warnings for high overflow risk, abnormal readings or maintenance.

- Analytics Module: Generates daily, monthly and seasonal conservation statistics.

- Administration Module: Allows roof area, tank capacity, coefficients and thresholds to be configured.

# TECHNOLOGY REQUIREMENTS

| Component | Suggested Technology | Purpose |
| --- | --- | --- |
| Microcontroller | ESP32 / equivalent | Sensor reading and communication |
| Rainfall sensor | Tipping-bucket rain gauge or suitable r | aim sensor Rainfall measurement |
| Level sensor | Ultrasonic / pressure sensor | Tank-level measurement |
| Flow sensor (optional) | Water flow meter | Measures collection or usage |
| Backend | Python / Node.js / PHP | Data processing and APIs |
| Database | MySQL / PostgreSQL / Firebase | Historical storage |
| Dashboard | HTML, CSS, JavaScript / React | Visualization and alerts |
| Connectivity | Wi-Fi / local network | Data transfer |

# OPTIMIZATION ALGORITHM

A rule-based algorithm is appropriate for the first prototype because it is transparent, easy to validate and does not require a large training dataset. It can later be upgraded with predictive analytics or machine learning.

- Read current rainfall and tank level.

- Calculate potential runoff for the current rainfall interval.

- Calculate free storage capacity.

- Estimate additional inflow using current rainfall intensity and, where available, a short-term forecast.

- Estimate expected demand during the same period.

- If expected inflow fits within free capacity, set recommendation to STORE.

- If the tank is close to full but demand is high, set recommendation to PRIORITIZE REUSE.

- If expected inflow exceeds free capacity and recharge capacity is available, set recommendation to DIVERT

TO RECHARGE.

- If no safe storage or recharge option exists, set recommendation to CONTROLLED DISCHARGE and record estimated loss.

## Example Decision

Suppose a 5,000 L tank contains 3,800 L, leaving 1,200 L free capacity. If the system estimates 2,000 L of additional runoff and a suitable recharge pathway is available, approximately 800 L can be prioritized for recharge instead of allowing it to overflow.

# DASHBOARD DESIGN

The user interface should present important information without requiring technical knowledge. The home screen can contain status cards for rainfall, current storage, and available capacity, estimated harvestable water, overflow risk and recommended action.

- Current rainfall and rainfall received today.

- Estimated harvestable volume.

- Tank level and percentage filled.

- Expected inflow and free capacity.

- Water reused and groundwater recharge quantity.

- Estimated overflow avoided.

- Monthly harvesting efficiency.

- Maintenance alerts for sensor, filter or gutter conditions.

# IMPLEMENTATION PLAN

- Phase 1 – Requirement analysis: Define roof area, tank size, water uses, and rainfall inputs and recharge options.

- Phase 2 – Prototype design: Develop database, dashboard and calculation engine using simulated data.

- Phase 3 – Hardware integration: Connect rainfall and tank-level sensors to the controller.

- Phase 4 – Decision engine: Implement thresholds, overflow calculations and action recommendations.

- Phase 5 – Testing: Compare estimated values with measured rainfall, tank levels and actual collection.

- Phase 6 – Pilot evaluation: Measure water saved, overflow avoided and system reliability over a rainfall period.

# TESTING AND EVALUATION

| Test Case | Input Condition | Expected Result |
| --- | --- | --- |
| Normal collection | Rainfall + free tank capacity | System recommends storage |
| Tank nearly full | High rainfall + low free capacity | High overflow-risk alert |
| Recharge available | Expected excess + recharge capacity | System recommends diversion to recharge |
| High demand | Stored water + significant demand | System prioritizes reuse |
| No storage/recharge | Excess rainfall + unavailable alternatives | Controlled-discharge warning and loss record |
| Sensor failure | Missing/invalid level reading | Fault alert and safe fall back mode |

# EXPECTED RESULTS

The proposed system is expected to improve visibility and management of rainwater resources. Measurable outputs can include total rainfall received, estimated water available for harvesting, water actually stored, water reused, water diverted for recharge and water lost through overflow or uncontrolled discharge.

The project can establish a baseline for comparing performance before and after optimization. An institution could monitor the percentage of harvestable rainwater successfully captured and identify rainfall events during which storage capacity was inadequate.

# ADVANTAGES

- Reduces avoidable rainwater loss through early overflow awareness.

- Provides quantitative evidence of water conservation performance.

- Encourages reuse of harvested water for suitable non-potable purposes.

- Supports groundwater recharge by recommending diversion when storage is insufficient.

- Can be implemented at different scales, from a single building to a campus.

- Combines physical harvesting infrastructure with a digital monitoring layer.

- Creates historical data useful for future harvesting-infrastructure planning.

# LIMITATIONS

- Rainfall and level sensors require calibration and maintenance.

- Runoff estimates are approximate and depend on the selected coefficient.

- Forecast-based decisions depend on the quality and availability of rainfall data.

- Recharge structures must be designed according to local site conditions and applicable regulations.

- Internet-dependent deployments require a fall back mode when connectivity is unavailable.

# SDG ALIGNMENT

SDG 6 – Clean Water and Sanitation: Promotes water-use efficiency, rainwater collection and improved management of local water resources.

SDG 11 – Sustainable Cities and Communities: Helps buildings and institutions manage runoff and improve resilience to rainfall variability.

SDG 12 – Responsible Consumption and Production: Encourages efficient use of a locally available resource and tracks avoidable losses.

SDG 13 – Climate Action: Improved rainwater management supports local resilience to changing rainfall patterns and reduces dependence on external water supplies.

# FUTURE SCOPE

- Machine-learning models can predict rainfall-runoff behaviour and building water demand.

- Multiple buildings can be connected to a campus-level dashboard.

- A digital map can identify buildings with high runoff potential and insufficient storage.

- Automated valves can control diversion when safety and engineering requirements are satisfied.

- The system can generate monthly sustainability reports for institutions.

- Integration with weather-data services can improve short-term overflow-risk estimation.

- A mobile application can provide notifications to maintenance staff and administrators.

# CONCLUSION

Rainwater harvesting is an effective method of supplementing water resources, but its sustainability depends on how well collected water is monitored, stored and utilized. The proposed Rainwater Wastage Reduction and Harvesting Optimization System addresses this gap by integrating rainfall measurement, runoff estimation, storage monitoring, demand analysis and decision support.

The distinguishing feature of the proposed solution is its focus on optimization rather than collection alone. When sufficient storage exists, the system encourages harvesting and reuse. When overflow is likely, it recommends a controlled alternative such as groundwater recharge, thereby reducing avoidable loss. The dashboard makes conservation measurable and supports evidence-based decisions about future harvesting infrastructure.

The project is technically feasible as an academic prototype using IoT sensors, a microcontroller, a database and a web dashboard. With further validation and site-specific engineering, the concept can be extended to homes, educational institutions, apartments and public buildings.

# REFERENCES

- United Nations. Sustainable Development Goals: Goal 6 – Clean Water and Sanitation. United Nations Sustainable Development framework.

- Central Ground Water Board, Government of India. Manual on Artificial Recharge of Ground Water.

- Bureau of Indian Standards. Code of Practice for Roof Top Rain Water Harvesting.

- Central Public Works Department, Government of India. Technical guidance and practices related to rainwater harvesting and water conservation.

- World Health Organization. Guidance materials on rainwater harvesting and safe water management.

- National Building Code of India. Provisions relevant to building water systems and rainwater management.